## NIIMBL VS-001
Cell Line | Experiment ID | SAMPLE # | DATE | TIME | SAMPLE VOLUME (mL) | FEED MEDIA ADDED (mL) | GLUTAMINE FEED ADDED (mL) | BASE ADDED (mL) | VIABLE CELL CONC. XV (x106 cells/mL) | DEAD CELL CONC. Xd (x106 cells/mL) | TOTAL CELL CONC. Xt (x106 cells/mL) | VIABILITY (%) | pH | DO (%) | OUR (mmol/L/hr) | SP. OXYGEN CONSUMPTION RATE (mmol/109cell/hr) | OXYGEN CONSUMED (mmol/L) | OPTICAL DENSITY | OSMOLALITY (mmol/kg) | IgG CONC. (mg/L) | ALANINE CONC. (mM) | ARGININE CONC. (mM) | ASPARAGINE CONC. (mM) | ASPARTATE CONC. (mM) | CYSTINE CONC. (mM) | GLUCOSE CONC. (mM) | GLUTAMINE CONC. (mM) | GLUTAMATE CONC. (mM) | GLYCINE CONC. (mM) | HISTIDINE CONC. (mM) | ISOLEUCINE CONC. (mM) | LACTATE CONC. (mM) | LEUCINE CONC. (mM) | LYSINE CONC. (mM) | METHIONINE CONC. (mM) | NH3 CONC. (mM) | PHENYLALANINE CONC. (mM) | PROLINE CONC. (mM) | SERINE CONC. (mM) | THREONINE CONC. (mM) | TRYPTOPHAN CONC. (mM) | TYROSINE CONC. (mM) | VALINE CONC. (mM) | ETHANOLAMINE CONC. (mM) | FEED ALANINE CONC. (mM) | FEED ARGININE CONC. (mM) | FEED ASPARAGINE CONC. (mM) | FEED ASPARTATE CONC. (mM) | FEED CYSTINE CONC. (mM) | FEED GLUCOSE CONC. (mM) | FEED GLUTAMINE CONC. (mM) | FEED GLUTAMATE CONC. (mM) | FEED GLYCINE CONC. (mM) | FEED HISTIDINE CONC. (mM) | FEED ISOLEUCINE CONC. (mM) | FEED LACTATE CONC. (mM) | FEED LEUCINE CONC. (mM) | FEED LYSINE CONC. (mM) | FEED METHIONINE CONC. (mM) | FEED NH3 CONC. (mM) | FEED PHENYLALANINE CONC. (mM) | FEED PROLINE CONC. (mM) | FEED SERINE CONC. (mM) | FEED THREONINE CONC. (mM) | FEED TRYPTOPHAN CONC. (mM) | FEED TYROSINE CONC. (mM) | FEED VALINE CONC. (mM) | FEED ETHANOLAMINE CONC. (mM) | ********* | RUN TIME (DAYS) | RUN TIME (HOURS) | VOLUME BEFORE SAMPLING (mL) | VOLUME AFTER SAMPLING (mL) | ********* | INTEGRAL OF VIABLE CELL CONC. IVCC (x106 cells hr/mL) | CUM CELLS PROD. (x106 cells) | CUM OXYGEN CONS. (mmol) | CUM IgG PROD. (mg) | CUM GLUCOSE (mmol) | CUM LACTATE (mmol) | CUM GLUTAMINE (mmol) | CUM ASPARAGINE (mmol) | CUM ASPARTATE (mmol) | GLUCOSE (mM) (After Feed) | LACTATE (mM) (After Feed) | GLUTAMINE (mM) (After Feed) | ASPARAGINE (mM) (After Feed) | ASPARTATE (mM) (After Feed) | ********* | SP. OUR (mmol/109 cells/hr) | SP. OXYGEN CONSUMPTION RATE (mmol/109cell/hr) | SP. GROWTH RATE, m (hr-1) [mv-kd] | mv | kd | Two-Pt. Calc. qIgG (mmol/109 cell/hr) | Two-Pt. Calc. qGlucose (mmol/109 cell/hr) | Two-Pt. Calc. qLactate (mmol/109 cell/hr) | Two-Pt. Calc. qGlutamine (mmol/109 cell/hr) | Two-Pt. Calc. qAsparagine (mmol/109 cell/hr) | Two-Pt. Calc. qAspartate (mmol/109 cell/hr) | Two-Pt. Calc. DL/DG (mmol/mmol) | Two-Pt. Calc. qO2/qGlc (mmol/mmol) | Two-Pt. Calc. qGln/qGlc (mmol/mmol) | ********* | SP. OXYGEN CONSUMPTION RATE (mmol/109cell/hr) | Poly. Reg. Order: 3 qigg (mmol/109 cells/hr) | Poly. Reg. Order: 3 qGlucose (mmol/109 cell/hr) | Poly. Reg. Order: 5 qLactate (mmol/109 cell/hr) | Poly. Reg. Order: 3 qGlutamine (mmol/109 cell/hr) | Poly. Reg. Order: 4 qAsparagine (mmol/109 cell/hr) | Poly. Reg. Order: 4 qAspartate (mmol/109 cell/hr) | Poly. Reg. DL/DG (mmol/mmol) | Poly. Reg. qO2/qGlc (mmol/mmol) | Poly. Reg. qGln/qGlc (mmol/mmol)
GS CHOZN Clone 23 | NIIMBL VS-001 | 0 | 2019-08-16 17:29 | 2019-08-16 17:29 | 1 | 0 | 0 |  | 0.246 | 0 | 0.246 | 100 | 7.54 | [5 empty] | 363 | 0 | 0.076462 | 2.7115 | 3.6555 | 1.5092 | 0.58922 | 27.5024 | 2.3714 | 0.79436 | 2.3325 | 0.88481 | 1.6064 | 0 | 3.3954 | 2.9225 | 0.97673 | 1.5942 | 0.73712 | 2.5101 | 4.6203 | 3.1539 | 0.38733 | 1.4906 | 1.8344 | 0 | 0 | 12.3853 | 16.6556 | 3.7566 | 7.1163 | 400 | 200 | 11.5568 | 0 | 0 | 14.2387 | 0 | 26.8733 | 16.6855 | 5.4088 | 0 | 13.5775 | 19.0028 | 36.3083 | 20.6633 | 4.4368 | 0 | 24.2679 | 0 |  | 0 | 0 | 74 | 73 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 27.5024 | 0 | 2.3714 | 3.6555 | 1.5092 |  | 0 | [14 empty] | 0
GS CHOZN Clone 23 | NIIMBL VS-001 | 1 | 2019-08-17 17:22 | 2019-08-17 17:22 | 1.5 | 0 | 0 |  | 0.542 | 0.0054747 | 0.54747 | 99 | 7.39 |  |  | 0.419 |  |  | 349 | 1.0838 | 0.19595 | 2.7289 | 3.6938 | 1.5771 | 0.55314 | 25.4265 | 1.9726 | 0.90152 | 2.3903 | 0.86447 | 1.6113 | 2.9307 | 3.3793 | 2.9419 | 0.96873 | 2.1012 | 0.74248 | 2.5134 | 4.5964 | 3.2225 | 0.38328 | 1.5392 | 1.8459 | 0 | 0 | 12.3853 | 16.6556 | 3.7566 | 7.1163 | 400 | 200 | 11.5568 | 0 | 0 | 14.2387 | 0 | 26.8733 | 16.6855 | 5.4088 | 0 | 13.5775 | 19.0028 | 36.3083 | 20.6633 | 4.4368 | 0 | 24.2679 | 0 |  | 0.99514 | 23.8833 | 73 | 71.5 |  | 9.41 | 21.608 | 0 | 0.079116 | 0.15154 | 0.21394 | 0.029116 | -0.0027978 | -0.0049579 | 25.4265 | 2.9307 | 1.9726 | 3.6938 | 1.5771 |  | 0 | 0.419 | 0.031456 | 0.032038 | 0.0005818 | 0.11517 | 0.2206 | 0.31145 | 0.042385 | -0.0040728 | -0.0072175 | 1.4118 | 1.8994 | 0.19214 |  | 0.419 | -0.081501 | 0.16312 | 0.51787 | 0.048009 | -0.01215 | -0.011646 | 3.1749 | 2.5687 | 0.29433
GS CHOZN Clone 23 | NIIMBL VS-001 | 2 | 2019-08-18 08:02 | 2019-08-18 08:02 | 1.5 | 0 | 0 |  | 0.94 | 0.005674 | 0.94567 | 99.4 | 7.28 |  |  | 0.35982 |  |  | 345 | 1.7707 | 0.31252 | 2.7491 | 3.7035 | 1.6366 | 0.52487 | 23.9749 | 1.5947 | 1.0478 | 2.4788 | 0.82469 | 1.6188 | 6.8901 | 3.3753 | 2.9227 | 0.9589 | 2.5609 | 0.73471 | 2.5174 | 4.5289 | 3.2857 | 0.37659 | 1.4918 | 1.849 | 0 | 0 | 12.3853 | 16.6556 | 3.7566 | 7.1163 | 400 | 200 | 11.5568 | 0 | 0 | 14.2387 | 0 | 26.8733 | 16.6855 | 5.4088 | 0 | 13.5775 | 19.0028 | 36.3083 | 20.6633 | 4.4368 | 0 | 24.2679 | 0 |  | 1.6062 | 38.55 | 71.5 | 70 |  | 20.278 | 50.065 | 0 | 0.12823 | 0.25533 | 0.49704 | 0.056135 | -0.0034897 | -0.0092116 | 23.9749 | 6.8901 | 1.5947 | 3.7035 | 1.6366 |  | 0 | 0.35982 | 0.036621 | 0.03664 | 1.8338e-05 | 0.063207 | 0.13357 | 0.36431 | 0.034771 | -0.00089041 | -0.005474 | 2.7274 | 2.6938 | 0.26032 |  | 0.35982 | 0.16009 | 0.1834 | 0.36782 | 0.032327 | 0.01016 | -0.00042894 | 2.0055 | 1.9619 | 0.17626
GS CHOZN Clone 23 | NIIMBL VS-001 | 3 | 2019-08-18 17:04 | 2019-08-18 17:04 | 1.5 | 0 | 0 |  | 1.43 | 0.011532 | 1.4415 | 99.2 | 7.17 |  |  | 0.33363 |  |  | 348 | 2.7157 | 0.42849 | 2.7319 | 3.6818 | 1.669 | 0.50386 | 21.466 | 1.2751 | 1.1574 | 2.5375 | 0.80791 | 1.6093 | 8.9363 | 3.3502 | 2.9296 | 0.96311 | 3.1934 | 0.73103 | 2.5137 | 4.4432 | 3.3254 | 0.37937 | 1.5329 | 1.8399 | 0 | 0 | 12.3853 | 16.6556 | 3.7566 | 7.1163 | 400 | 200 | 11.5568 | 0 | 0 | 14.2387 | 0 | 26.8733 | 16.6855 | 5.4088 | 0 | 13.5775 | 19.0028 | 36.3083 | 20.6633 | 4.4368 | 0 | 24.2679 | 0 |  | 1.9826 | 47.5833 | 70 | 68.5 |  | 30.9825 | 84.365 | 0 | 0.19438 | 0.43095 | 0.64027 | 0.078502 | -0.0019751 | -0.011478 | 21.466 | 8.9363 | 1.2751 | 3.6818 | 1.669 |  | 0 | 0.33363 | 0.045775 | 0.046322 | 0.00054727 | 0.088278 | 0.23438 | 0.19116 | 0.029851 | 0.0020213 | -0.0030241 | 0.81561 | 1.4235 | 0.12736 |  | 0.33363 | 0.18816 | 0.15617 | 0.23688 | 0.023174 | 0.012845 | 0.0021102 | 1.5168 | 2.1364 | 0.14839
GS CHOZN Clone 23 | NIIMBL VS-001 | 4 | 2019-08-19 08:08 | 2019-08-19 08:08 | 1.5 | 0 | 0 |  | 3.11 | 0.076475 | 3.1865 | 97.6 | 6.88 |  |  | 0.32849 |  |  | 344 | 4.3548 | 0.7049 | 2.6981 | 3.6359 | 1.7371 | 0.47274 | 17.3769 | 0.70331 | 1.3388 | 2.6334 | 0.74884 | 1.6151 | 16.1435 | 3.2954 | 2.9009 | 0.93496 | 4.1231 | 0.70738 | 2.5121 | 4.2106 | 3.3105 | 0.37387 | 1.5 | 1.8159 | 0 | 0 | 12.3853 | 16.6556 | 3.7566 | 7.1163 | 400 | 200 | 11.5568 | 0 | 0 | 14.2387 | 0 | 26.8733 | 16.6855 | 5.4088 | 0 | 13.5775 | 19.0028 | 36.3083 | 20.6633 | 4.4368 | 0 | 24.2679 | 0 |  | 2.6104 | 62.65 | 68.5 | 67 |  | 65.1839 | 199.445 | 0 | 0.30666 | 0.71105 | 1.134 | 0.11767 | 0.0011728 | -0.016146 | 17.3769 | 16.1435 | 0.70331 | 3.6359 | 1.7371 |  | 0 | 0.32849 | 0.049121 | 0.05102 | 0.0018988 | 0.047926 | 0.11956 | 0.21073 | 0.01672 | 0.0013436 | -0.0019928 | 1.7625 | 2.7476 | 0.13984 |  | 0.32849 | 0.14735 | 0.096785 | 0.086398 | 0.011871 | 0.0098943 | 0.002649 | 0.89268 | 3.3941 | 0.12265
GS CHOZN Clone 23 | NIIMBL VS-001 | 5 | 2019-08-19 17:14 | 2019-08-19 17:14 | 1.5 | 1.31 | 0.3275 |  | 4.385 | 0.15434 | 4.5393 | 96.6 | 6.77 |  |  | 0.32 |  |  | 348 | 8.4888 | 0.96162 | 2.7229 | 3.5346 | 1.7475 | 0.45952 | 15.0114 | 0.40816 | 1.4206 | 2.6782 | 0.72552 | 1.6205 | 18.6497 | 3.28 | 2.8626 | 0.93008 | 4.6012 | 0.6849 | 2.5128 | 4.087 | 3.4234 | 0.36559 | 1.4983 | 1.7866 | 0 | 0 | 12.3853 | 16.6556 | 3.7566 | 7.1163 | 400 | 200 | 11.5568 | 0 | 0 | 14.2387 | 0 | 26.8733 | 16.6855 | 5.4088 | 0 | 13.5775 | 19.0028 | 36.3083 | 20.6633 | 4.4368 | 0 | 24.2679 | 0 |  | 2.9896 | 71.75 | 67 | 65.5 |  | 99.2861 | 284.87 | 0 | 0.58364 | 0.86954 | 1.3019 | 0.13745 | 0.0079598 | -0.016841 | 22.4502 | 18.1948 | 4.3006 | 3.7733 | 1.7782 |  | 0 | 0.32 | 0.037388 | 0.039671 | 0.0022832 | 0.12122 | 0.069365 | 0.073489 | 0.0086547 | 0.0029704 | -0.0003039 | 1.0595 | 4.6133 | 0.12477 |  | 0.32 | 0.13078 | 0.079343 | 0.047989 | 0.0089633 | 0.0085025 | 0.0025435 | 0.60482 | 4.0331 | 0.11297
GS CHOZN Clone 23 | NIIMBL VS-001 | 6 | 2019-08-20 17:01 | 2019-08-20 17:01 | 1.5 | 1.9691 | 0.32819 |  | 9.54 | 0.32556 | 9.8656 | 96.7 | 6.76 |  |  | 0.152 |  |  | 343 | 24.0619 | 2.1129 | 2.5696 | 2.8195 | 1.413 | 0.34389 | 15.5464 | 0.15478 | 1.41 | 2.5394 | 0.68583 | 1.5652 | 19.5633 | 3.1257 | 2.6893 | 0.83008 | 6.2305 | 0.70922 | 2.5107 | 3.766 | 3.5393 | 0.36195 | 1.3176 | 1.8719 | 0 | 0 | 12.3853 | 16.6556 | 3.7566 | 7.1163 | 400 | 200 | 11.5568 | 0 | 0 | 14.2387 | 0 | 26.8733 | 16.6855 | 5.4088 | 0 | 13.5775 | 19.0028 | 36.3083 | 20.6633 | 4.4368 | 0 | 24.2679 | 0 |  | 3.9806 | 95.5333 | 67.1375 | 65.6375 |  | 264.8776 | 638.1443 | 0 | 1.6431 | 1.333 | 1.3938 | 0.21929 | 0.071998 | 0.0076783 | 26.6149 | 18.9017 | 5.9466 | 3.2069 | 1.4741 |  | 0 | 0.152 | 0.032023 | 0.033088 | 0.0010649 | 0.096033 | 0.042014 | 0.0083283 | 0.0074187 | 0.0058048 | 0.0022225 | 0.19823 | 3.6178 | 0.17657 |  | 0.152 | 0.085611 | 0.045606 | 0.0050358 | 0.0044167 | 0.0049407 | 0.0017313 | 0.11042 | 3.3329 | 0.096845
GS CHOZN Clone 23 | NIIMBL VS-001 | 7 | 2019-08-21 18:35 | 2019-08-21 18:35 | 10 | 1.738 | 0.28967 |  | 16.2 | 0.51827 | 16.7183 | 96.9 | 6.85 |  |  | 0.136 |  |  | 338 | 56.6208 | 4.9516 | 2.4377 | 1.3667 | 0.83261 | 0.21403 | 13.641 | 0.063363 | 0.93923 | 2.2123 | 0.67843 | 1.4714 | 18.5126 | 2.8796 | 2.4372 | 0.69891 | 6.8912 | 0.7682 | 2.5115 | 3.5163 | 3.7014 | 0.34918 | 1.0671 | 1.9928 | 0 | 0 | 12.3853 | 16.6556 | 3.7566 | 7.1163 | 400 | 200 | 11.5568 | 0 | 0 | 14.2387 | 0 | 26.8733 | 16.6855 | 5.4088 | 0 | 13.5775 | 19.0028 | 36.3083 | 20.6633 | 4.4368 | 0 | 24.2679 | 0 |  | 5.0458 | 121.1 | 67.9348 | 57.9348 |  | 593.9206 | 1112.5065 | 0 | 3.9102 | 2.2144 | 1.3673 | 0.29078 | 0.19701 | 0.051257 | 24.7739 | 17.8866 | 5.8583 | 1.8033 | 0.91334 |  | 0 | 0.136 | 0.02149 | 0.022117 | 0.00062696 | 0.10271 | 0.039929 | -0.0011975 | 0.0032388 | 0.0056635 | 0.0019743 | -0.029992 | 3.406 | 0.081114 |  | 0.136 | 0.062973 | 0.030638 | -0.0024273 | 0.0026475 | 0.0030531 | 0.0011746 | -0.079224 | 4.4389 | 0.086414
GS CHOZN Clone 23 | NIIMBL VS-001 | 8 | 2019-08-22 17:19 | 2019-08-22 17:19 | 1.5 | 1.7539 | 0.29231 |  | 18.8 | 1.1787 | 19.9787 | 94.1 | 7 |  |  | 0.13511 |  |  | 325 | 61.8357 | 8.2426 | 2.3076 | 0.03396 | 0.17124 | 0.065241 | 11.4494 | 0.053997 | 0.3078 | 1.976 | 0.68223 | 1.2667 | 16.7693 | 2.5559 | 2.321 | 0.58718 | 6.8218 | 0.85017 | 2.512 | 3.7129 | 3.6319 | 0.34742 | 0.79077 | 1.9978 | 0 | 0 | 12.3853 | 16.6556 | 3.7566 | 7.1163 | 400 | 200 | 11.5568 | 0 | 0 | 14.2387 | 0 | 26.8733 | 16.6855 | 5.4088 | 0 | 13.5775 | 19.0028 | 36.3083 | 20.6633 | 4.4368 | 0 | 24.2679 | 0 |  | 5.9931 | 143.8333 | 59.9625 | 58.4625 |  | 991.7539 | 1301.2581 | 0 | 4.3377 | 3.0134 | 1.3003 | 0.34915 | 0.3031 | 0.095755 | 22.6565 | 16.2022 | 5.8493 | 0.51558 | 0.27433 |  | 0 | 0.13511 | 0.0080382 | 0.0097696 | 0.0017313 | 0.018206 | 0.034025 | -0.0028531 | 0.0024857 | 0.0045181 | 0.001895 | -0.083853 | 3.971 | 0.073054 |  | 0.13511 | 0.070447 | 0.032051 | -0.0010825 | 0.002555 | 0.0027796 | 0.0011173 | -0.033774 | 4.2155 | 0.079715
GS CHOZN Clone 23 | NIIMBL VS-001 | 9 | 2019-08-23 16:53 | 2019-08-23 16:53 | 1.5 | 1.7703 | 0.29504 |  | 20.3 | 1.4345 | 21.7345 | 93.4 | 6.73 |  |  | 0.11048 |  |  | 332 | 113.1853 | 8.678 | 2.2461 | 0.044538 | 0.061329 | 0.10695 | 7.1633 | 0 | 0 | 1.6297 | 0.7367 | 1.11 | 18.2004 | 2.1428 | 2.1673 | 0.48257 | 7.698 | 0.95844 | 2.5119 | 3.9432 | 3.8422 | 0.35021 | 0.59328 | 2.1249 | 0 | 0 | 12.3853 | 16.6556 | 3.7566 | 7.1163 | 400 | 200 | 11.5568 | 0 | 0 | 14.2387 | 0 | 26.8733 | 16.6855 | 5.4088 | 0 | 13.5775 | 19.0028 | 36.3083 | 20.6633 | 4.4368 | 0 | 24.2679 | 0 |  | 6.975 | 167.4 | 60.5087 | 59.0087 |  | 1452.4822 | 1430.4895 | 0 | 7.5714 | 3.9509 | 1.4212 | 0.41077 | 0.33161 | 0.10864 | 18.5152 | 17.5849 | 5.7971 | 0.5258 | 0.16814 |  | 0 | 0.11048 | 0.0047122 | 0.0053644 | 0.00065218 | 0.11791 | 0.034183 | 0.0044087 | 0.0022468 | 0.0010393 | 0.00046996 | 0.12897 | 3.232 | 0.065729 |  | 0.11048 | 0.070953 | 0.030161 | 0.0032746 | 0.0022284 | 0.002078 | 0.00082375 | 0.10857 | 3.663 | 0.073882
GS CHOZN Clone 23 | NIIMBL VS-001 | 10 | 2019-08-24 17:29 | 2019-08-24 17:29 | 1.5 | 1.7872 | 0.29787 |  | 18.7 | 3.4564 | 22.1564 | 84.4 | 6.42 |  |  | 0.077414 |  |  | 327 | 140.0205 | 7.8013 | 2.2312 | 0.052381 | 0.059285 | 0.098898 | 1.6641 | 0 | 0 | 1.3871 | 0.75035 | 1.023 | 20.6395 | 1.958 | 2.1344 | 0.40979 | 10.0796 | 1.0533 | 2.5124 | 4.2925 | 3.9176 | 0.33331 | 0.45657 | 2.2034 | 0 | 0 | 12.3853 | 16.6556 | 3.7566 | 7.1163 | 400 | 200 | 11.5568 | 0 | 0 | 14.2387 | 0 | 26.8733 | 16.6855 | 5.4088 | 0 | 13.5775 | 19.0028 | 36.3083 | 20.6633 | 4.4368 | 0 | 24.2679 | 0 |  | 8 | 192 | 61.074 | 59.574 |  | 1932.1822 | 1374.6968 | 0 | 9.4441 | 4.98 | 1.6078 | 0.46978 | 0.36052 | 0.11529 | 13.202 | 19.9415 | 5.7971 | 0.53338 | 0.16617 |  | 0 | 0.077414 | -0.0019385 | 0.0024549 | 0.0043934 | 0.065066 | 0.035758 | 0.0064816 | 0.0020502 | 0.0010046 | 0.00023099 | 0.18126 | 2.1649 | 0.057336 |  | 0.077414 | 0.080777 | 0.031768 | 0.0048286 | 0.0021629 | 0.0014237 | 0.0004397 | 0.15199 | 2.4368 | 0.068083
GS CHOZN Clone 23 | NIIMBL VS-001 | 11 | 2019-08-25 17:08 | 2019-08-25 17:08 | 1.5 | 1.8048 | 0.3008 |  | 17.9 | 6.858 | 24.758 | 72.3 | 6.77 |  |  | 0.10417 |  |  | 317 | 170.9083 | 7.1459 | 2.2356 | 0.056752 | 0.072469 | 0.078907 | 0.78387 | 0.040653 | 0.051835 | 1.1573 | 0.76845 | 0.99923 | 16.6615 | 1.9177 | 2.1588 | 0.36929 | 9.8645 | 1.1653 | 2.5194 | 4.5002 | 4.0285 | 0.35333 | 0.29372 | 2.3198 | 0 | 0 | 12.3853 | 16.6556 | 3.7566 | 7.1163 | 400 | 200 | 11.5568 | 0 | 0 | 14.2387 | 0 | 26.8733 | 16.6855 | 5.4088 | 0 | 13.5775 | 19.0028 | 36.3083 | 20.6633 | 4.4368 | 0 | 24.2679 | 0 |  | 8.9854 | 215.65 | 61.6591 | 60.1591 |  | 2364.9772 | 1364.3607 | 0 | 11.6405 | 5.7457 | 1.4055 | 0.52685 | 0.38991 | 0.12107 | 12.3516 | 16.0981 | 5.8364 | 0.5376 | 0.1789 |  | 0 | 0.10417 | -0.00039414 | 0.0078784 | 0.0082725 | 0.083756 | 0.029197 | -0.0077119 | 0.0021761 | 0.0011206 | 0.0002203 | -0.26413 | 3.5679 | 0.074531 |  | 0.10417 | 0.085432 | 0.030704 | -0.0085431 | 0.0019029 | 0.00043644 | -0.0002251 | -0.27824 | 3.3928 | 0.061977
GS CHOZN Clone 23 | NIIMBL VS-001 | 12 | 2019-08-26 10:57 | 2019-08-26 10:57 | 2 | 0 | 0 |  | 14.2 | 7.2502 | 21.4502 | 66.2 | 6.86 |  |  | 0.13216 |  |  | 321 | 187.9239 | 7.0019 | 2.248 | 0.040499 | 0.13262 | 0.095273 | 5.7681 | 0.23138 | 0.36291 | 1.0873 | 0.82519 | 1.0236 | 11.8692 | 1.9927 | 2.1471 | 0.3617 | 8.4698 | 1.2828 | 2.5123 | 4.6376 | 3.9626 | 0.39963 | 0.20939 | 2.424 | 0 | 0 | 12.3853 | 16.6556 | 3.7566 | 7.1163 | 400 | 200 | 11.5568 | 0 | 0 | 14.2387 | 0 | 26.8733 | 16.6855 | 5.4088 | 0 | 13.5775 | 19.0028 | 36.3083 | 20.6633 | 4.4368 | 0 | 24.2679 | 0 |  | 9.7278 | 233.4667 | 62.2647 | 60.2647 |  | 2650.9347 | 1171.671 | 0 | 13.0599 | 6.1556 | 1.1422 | 0.57504 | 0.42086 | 0.12395 | 5.7681 | 11.8692 | 0.23138 | 0.040499 | 0.13262 |  | 0 | 0.13216 | -0.01103 | -0.0088057 | 0.0022245 | 0.081247 | 0.023465 | -0.015073 | 0.002759 | 0.0017718 | 0.00016495 | -0.64235 | 5.6323 | 0.11758 |  | 0.13216 | 0.10628 | 0.035074 | -0.046844 | 0.0019773 | -0.00057921 | -0.0011241 | -1.3356 | 3.7681 | 0.056376

## NIIMBL VS-002
Cell Line | Experiment ID | SAMPLE # | DATE | TIME | SAMPLE VOLUME (mL) | FEED MEDIA ADDED (mL) | GLUTAMINE FEED ADDED (mL) | BASE ADDED (mL) | VIABLE CELL CONC. XV (x106 cells/mL) | DEAD CELL CONC. Xd (x106 cells/mL) | TOTAL CELL CONC. Xt (x106 cells/mL) | VIABILITY (%) | pH | DO (%) | OUR (mmol/L/hr) | SP. OXYGEN CONSUMPTION RATE (mmol/109cell/hr) | OXYGEN CONSUMED (mmol/L) | OPTICAL DENSITY | OSMOLALITY (mmol/kg) | IgG CONC. (mg/L) | ALANINE CONC. (mM) | ARGININE CONC. (mM) | ASPARAGINE CONC. (mM) | ASPARTATE CONC. (mM) | CYSTINE CONC. (mM) | GLUCOSE CONC. (mM) | GLUTAMINE CONC. (mM) | GLUTAMATE CONC. (mM) | GLYCINE CONC. (mM) | HISTIDINE CONC. (mM) | ISOLEUCINE CONC. (mM) | LACTATE CONC. (mM) | LEUCINE CONC. (mM) | LYSINE CONC. (mM) | METHIONINE CONC. (mM) | NH3 CONC. (mM) | PHENYLALANINE CONC. (mM) | PROLINE CONC. (mM) | SERINE CONC. (mM) | THREONINE CONC. (mM) | TRYPTOPHAN CONC. (mM) | TYROSINE CONC. (mM) | VALINE CONC. (mM) | ETHANOLAMINE CONC. (mM) | FEED ALANINE CONC. (mM) | FEED ARGININE CONC. (mM) | FEED ASPARAGINE CONC. (mM) | FEED ASPARTATE CONC. (mM) | FEED CYSTINE CONC. (mM) | FEED GLUCOSE CONC. (mM) | FEED GLUTAMINE CONC. (mM) | FEED GLUTAMATE CONC. (mM) | FEED GLYCINE CONC. (mM) | FEED HISTIDINE CONC. (mM) | FEED ISOLEUCINE CONC. (mM) | FEED LACTATE CONC. (mM) | FEED LEUCINE CONC. (mM) | FEED LYSINE CONC. (mM) | FEED METHIONINE CONC. (mM) | FEED NH3 CONC. (mM) | FEED PHENYLALANINE CONC. (mM) | FEED PROLINE CONC. (mM) | FEED SERINE CONC. (mM) | FEED THREONINE CONC. (mM) | FEED TRYPTOPHAN CONC. (mM) | FEED TYROSINE CONC. (mM) | FEED VALINE CONC. (mM) | FEED ETHANOLAMINE CONC. (mM) | ********* | RUN TIME (DAYS) | RUN TIME (HOURS) | VOLUME BEFORE SAMPLING (mL) | VOLUME AFTER SAMPLING (mL) | ********* | INTEGRAL OF VIABLE CELL CONC. IVCC (x106 cells hr/mL) | CUM CELLS PROD. (x106 cells) | CUM OXYGEN CONS. (mmol) | CUM IgG PROD. (mg) | CUM GLUCOSE (mmol) | CUM LACTATE (mmol) | CUM GLUTAMINE (mmol) | CUM ASPARAGINE (mmol) | CUM ASPARTATE (mmol) | GLUCOSE (mM) (After Feed) | LACTATE (mM) (After Feed) | GLUTAMINE (mM) (After Feed) | ASPARAGINE (mM) (After Feed) | ASPARTATE (mM) (After Feed) | ********* | SP. OUR (mmol/109 cells/hr) | SP. OXYGEN CONSUMPTION RATE (mmol/109cell/hr) | SP. GROWTH RATE, m (hr-1) [mv-kd] | mv | kd | Two-Pt. Calc. qIgG (mmol/109 cell/hr) | Two-Pt. Calc. qGlucose (mmol/109 cell/hr) | Two-Pt. Calc. qLactate (mmol/109 cell/hr) | Two-Pt. Calc. qGlutamine (mmol/109 cell/hr) | Two-Pt. Calc. qAsparagine (mmol/109 cell/hr) | Two-Pt. Calc. qAspartate (mmol/109 cell/hr) | Two-Pt. Calc. DL/DG (mmol/mmol) | Two-Pt. Calc. qO2/qGlc (mmol/mmol) | Two-Pt. Calc. qGln/qGlc (mmol/mmol) | ********* | SP. OXYGEN CONSUMPTION RATE (mmol/109cell/hr) | Poly. Reg. Order: 3 qigg (mmol/109 cells/hr) | Poly. Reg. Order: 3 qGlucose (mmol/109 cell/hr) | Poly. Reg. Order: 5 qLactate (mmol/109 cell/hr) | Poly. Reg. Order: 3 qGlutamine (mmol/109 cell/hr) | Poly. Reg. Order: 4 qAsparagine (mmol/109 cell/hr) | Poly. Reg. Order: 4 qAspartate (mmol/109 cell/hr) | Poly. Reg. DL/DG (mmol/mmol) | Poly. Reg. qO2/qGlc (mmol/mmol) | Poly. Reg. qGln/qGlc (mmol/mmol)
GS CHOZN Clone 23 | NIIMBL VS-002 | 0 | 2019-08-16 17:30 | 2019-08-16 17:30 | 1 | 0 | 0 |  | 0.236 | 0.0055558 | 0.24156 | 97.7 | 7.54 | [5 empty] | 349 | 0 | 0.086779 | 2.6807 | 3.4608 | 1.4447 | 0.52883 | 29.3622 | 2.2845 | 0.77462 | 2.3364 | 0.8747 | 1.5676 | 0.28154 | 3.3662 | 2.8611 | 0.96826 | 2.4148 | 0.70959 | 2.5168 | 4.5089 | 3.0442 | 0.36498 | 1.4447 | 1.7923 | 0 | 0 | 12.3853 | 16.6556 | 3.7566 | 7.1163 | 400 | 200 | 11.5568 | 0 | 0 | 14.2387 | 0 | 26.8733 | 16.6855 | 5.4088 | 0 | 13.5775 | 19.0028 | 36.3083 | 20.6633 | 4.4368 | 0 | 24.2679 | 0 |  | 0 | 0 | 74 | 73 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 29.3622 | 0.28154 | 2.2845 | 3.4608 | 1.4447 |  | 0 | [14 empty] | 0
GS CHOZN Clone 23 | NIIMBL VS-002 | 1 | 2019-08-17 17:26 | 2019-08-17 17:26 | 1.5 | 0 | 0 |  | 0.548 | 0.0055354 | 0.55354 | 99 | 7.41 |  | 0.10138 | 0.185 | -0.10138 |  | 345 | 1.0347 | 0.19912 | 2.7047 | 3.4983 | 1.4998 | 0.53826 | 27.4966 | 1.9161 | 0.87731 | 2.3897 | 0.85215 | 1.57 | 3.0526 | 3.3519 | 2.8794 | 0.96313 | 2.6317 | 0.7145 | 2.5183 | 4.4926 | 3.106 | 0.36446 | 1.4664 | 1.7994 | 0 | 0 | 12.3853 | 16.6556 | 3.7566 | 7.1163 | 400 | 200 | 11.5568 | 0 | 0 | 14.2387 | 0 | 26.8733 | 16.6855 | 5.4088 | 0 | 13.5775 | 19.0028 | 36.3083 | 20.6633 | 4.4368 | 0 | 24.2679 | 0 |  | 0.99722 | 23.9333 | 73 | 71.5 |  | 9.3819 | 22.776 | -0.0074007 | 0.075536 | 0.13619 | 0.20229 | 0.026893 | -0.0027408 | -0.004019 | 27.4966 | 3.0526 | 1.9161 | 3.4983 | 1.4998 |  | 0.185 | 0.185 | 0.033256 | 0.033253 | -2.1775e-06 | 0.11029 | 0.19885 | 0.29537 | 0.039267 | -0.0040019 | -0.0058682 | 1.4853 | 0.93033 | 0.19747 |  | 0.185 | 0.081108 | 0.19074 | 0.55096 | 0.045148 | -0.0093454 | -0.010369 | 2.8885 | 0.96989 | 0.23669
GS CHOZN Clone 23 | NIIMBL VS-002 | 2 | 2019-08-18 08:07 | 2019-08-18 08:07 | 1.5 | 0 | 0 |  | 1.04 | 0 | 1.04 | 100 | 7.27 |  | 0.13411 | 0.12895 | -0.20117 |  | 350 | 1.7363 | 0.30789 | 2.6715 | 3.4318 | 1.5178 | 0.49658 | 24.9632 | 1.516 | 0.99911 | 2.4422 | 0.81194 | 1.5363 | 7.1989 | 3.29 | 2.8262 | 0.93362 | 3.012 | 0.69831 | 2.5178 | 4.3621 | 3.0981 | 0.35923 | 1.4371 | 1.7481 | 0 | 0 | 12.3853 | 16.6556 | 3.7566 | 7.1163 | 400 | 200 | 11.5568 | 0 | 0 | 14.2387 | 0 | 26.8733 | 16.6855 | 5.4088 | 0 | 13.5775 | 19.0028 | 36.3083 | 20.6633 | 4.4368 | 0 | 24.2679 | 0 |  | 1.609 | 38.6167 | 71.5 | 70 |  | 21.0404 | 57.954 | -0.014536 | 0.1257 | 0.31733 | 0.49875 | 0.055503 | 0.0020144 | -0.0053067 | 24.9632 | 7.1989 | 1.516 | 3.4318 | 1.5178 |  | 0.12895 | 0.12895 | 0.042201 | 0.041726 | -0.00047479 | 0.060177 | 0.2173 | 0.35564 | 0.034321 | 0.0057045 | -0.0015447 | 1.6367 | 0.59344 | 0.15795 |  | 0.12895 | 0.14906 | 0.17699 | 0.35264 | 0.028181 | 0.0080597 | -0.00079131 | 1.9924 | 0.7286 | 0.15922
GS CHOZN Clone 23 | NIIMBL VS-002 | 3 | 2019-08-18 17:18 | 2019-08-18 17:18 | 1.5 | 0 | 0 |  | 1.57 | 0.0047242 | 1.5747 | 99.7 | 7.19 |  | 0.38098 | 0.24266 | -0.57147 |  | 358 | 2.948 | 0.42164 | 2.6773 | 3.3799 | 1.5281 | 0.49578 | 22.6563 | 1.2245 | 1.1139 | 2.4388 | 0.79138 | 1.5541 | 10.8491 | 3.278 | 2.8054 | 0.91745 | 3.5563 | 0.68959 | 2.5185 | 4.1931 | 3.1329 | 0.35062 | 1.4617 | 1.7586 | 0 | 0 | 12.3853 | 16.6556 | 3.7566 | 7.1163 | 400 | 200 | 11.5568 | 0 | 0 | 14.2387 | 0 | 26.8733 | 16.6855 | 5.4088 | 0 | 13.5775 | 19.0028 | 36.3083 | 20.6633 | 4.4368 | 0 | 24.2679 | 0 |  | 1.9917 | 47.8 | 70 | 68.5 |  | 33.0247 | 95.054 | -0.040457 | 0.21051 | 0.47881 | 0.75426 | 0.075908 | 0.0056524 | -0.0060305 | 22.6563 | 10.8491 | 1.2245 | 3.3799 | 1.5281 |  | 0.24266 | 0.24266 | 0.044225 | 0.044619 | 0.0003942 | 0.1011 | 0.19249 | 0.30458 | 0.024324 | 0.0043367 | -0.0008629 | 1.5823 | 1.2606 | 0.12636 |  | 0.24266 | 0.14689 | 0.14863 | 0.22611 | 0.02051 | 0.010264 | 0.0013882 | 1.5213 | 1.6327 | 0.13799
GS CHOZN Clone 23 | NIIMBL VS-002 | 4 | 2019-08-19 08:13 | 2019-08-19 08:13 | 1.5 | 0 | 0 |  | 3.05 | 0.097575 | 3.1476 | 96.9 | 6.87 |  | 0.61625 | 0.20205 | -0.92438 |  | 348 | 5.3166 | 0.68187 | 2.6566 | 3.3846 | 1.6661 | 0.46189 | 18.2664 | 0.69446 | 1.2557 | 2.5907 | 0.74646 | 1.5448 | 17.3149 | 3.2306 | 2.785 | 0.9197 | 4.613 | 0.66986 | 2.5141 | 4.0957 | 3.1236 | 0.35039 | 1.4235 | 1.7046 | 0 | 0 | 12.3853 | 16.6556 | 3.7566 | 7.1163 | 400 | 200 | 11.5568 | 0 | 0 | 14.2387 | 0 | 26.8733 | 16.6855 | 5.4088 | 0 | 13.5775 | 19.0028 | 36.3083 | 20.6633 | 4.4368 | 0 | 24.2679 | 0 |  | 2.6132 | 62.7167 | 68.5 | 67 |  | 67.4822 | 196.434 | -0.064631 | 0.37277 | 0.77952 | 1.1972 | 0.11221 | 0.0053252 | -0.015483 | 18.2664 | 17.3149 | 0.69446 | 3.3846 | 1.6661 |  | 0.20205 | 0.20205 | 0.042951 | 0.045646 | 0.0026946 | 0.068742 | 0.1274 | 0.18765 | 0.015382 | -0.00013863 | -0.0040045 | 1.4729 | 1.586 | 0.12074 |  | 0.20205 | 0.11784 | 0.10062 | 0.090163 | 0.011845 | 0.0088878 | 0.002253 | 0.89609 | 2.0081 | 0.11772
GS CHOZN Clone 23 | NIIMBL VS-002 | 5 | 2019-08-19 17:47 | 2019-08-19 17:47 | 1.5 | 1.31 | 0.3275 |  | 4.875 | 0.15596 | 5.031 | 96.9 | 6.81 |  | 0.97009 | 0.19899 | -1.4551 |  | 344 | 6.7504 | 0.92935 | 2.6244 | 3.3799 | 1.6835 | 0.44428 | 15.9442 | 0.39216 | 1.3612 | 2.6013 | 0.70468 | 1.5578 | 19.7098 | 3.1749 | 2.7504 | 0.89835 | 5.2449 | 0.65333 | 2.5151 | 3.9718 | 3.3057 | 0.34957 | 1.4068 | 1.7117 | 0 | 0 | 12.3853 | 16.6556 | 3.7566 | 7.1163 | 400 | 200 | 11.5568 | 0 | 0 | 14.2387 | 0 | 26.8733 | 16.6855 | 5.4088 | 0 | 13.5775 | 19.0028 | 36.3083 | 20.6633 | 4.4368 | 0 | 24.2679 | 0 |  | 3.0118 | 72.2833 | 67 | 65.5 |  | 105.3901 | 318.709 | -0.10019 | 0.46883 | 0.9351 | 1.3576 | 0.13247 | 0.0056399 | -0.016649 | 23.3602 | 19.2291 | 4.285 | 3.6225 | 1.7158 |  | 0.19899 | 0.19899 | 0.048143 | 0.049683 | 0.0015402 | 0.037823 | 0.061259 | 0.063176 | 0.0079745 | 0.00012388 | -0.00045939 | 1.0313 | 3.2484 | 0.13018 |  | 0.19899 | 0.092527 | 0.072629 | 0.042299 | 0.0079359 | 0.0068599 | 0.0020036 | 0.5824 | 2.7399 | 0.10927
GS CHOZN Clone 23 | NIIMBL VS-002 | 6 | 2019-08-20 17:36 | 2019-08-20 17:36 | 1.5 | 1.9691 | 0.32819 |  | 9.12 | 0.33078 | 9.4508 | 96.5 | 6.81 |  | 1.4136 | 0.155 | 0.19437 |  | 354 | 17.932 | 2.0222 | 2.5054 | 2.6986 | 1.3832 | 0.35242 | 16.3999 | 0.14672 | 1.3583 | 2.4325 | 0.66968 | 1.5317 | 20.1437 | 3.0637 | 2.5687 | 0.81895 | 6.4289 | 0.6837 | 2.5127 | 3.6663 | 3.4342 | 0.34314 | 1.2501 | 1.7954 | 0 | 0 | 12.3853 | 16.6556 | 3.7566 | 7.1163 | 400 | 200 | 11.5568 | 0 | 0 | 14.2387 | 0 | 26.8733 | 16.6855 | 5.4088 | 0 | 13.5775 | 19.0028 | 36.3083 | 20.6633 | 4.4368 | 0 | 24.2679 | 0 |  | 4.0042 | 96.1 | 67.1375 | 65.6375 |  | 272.0472 | 611.6905 | 0.0081692 | 1.2306 | 1.4024 | 1.419 | 0.2138 | 0.067669 | 0.0056823 | 27.4395 | 19.4625 | 5.9389 | 3.0901 | 1.4453 |  | 0.155 | 0.155 | 0.026409 | 0.02749 | 0.001081 | 0.068665 | 0.042122 | 0.0055352 | 0.0073316 | 0.0055913 | 0.002013 | 0.13141 | 3.6798 | 0.17406 |  | 0.155 | 0.073067 | 0.048035 | 0.003564 | 0.0045777 | 0.0047618 | 0.0016724 | 0.074195 | 3.2268 | 0.095298
GS CHOZN Clone 23 | NIIMBL VS-002 | 7 | 2019-08-21 18:54 | 2019-08-21 18:54 | 10 | 1.738 | 0.28967 |  | 16.9 | 0.75935 | 17.6594 | 95.7 | 6.85 |  | 2.3829 | 0.141 | 1.8999 |  | 434 | 46.2247 | 4.8146 | 2.4191 | 1.3399 | 0.84335 | 0.22507 | 14.9064 | 0.06048 | 0.93033 | 2.1687 | 0.6818 | 1.4648 | 19.347 | 2.8828 | 2.4058 | 0.70303 | 7.0343 | 0.76362 | 2.5177 | 3.5215 | 3.6496 | 0.34384 | 1.0578 | 1.9763 | 0 | 0 | 12.3853 | 16.6556 | 3.7566 | 7.1163 | 400 | 200 | 11.5568 | 0 | 0 | 14.2387 | 0 | 26.8733 | 16.6855 | 5.4088 | 0 | 13.5775 | 19.0028 | 36.3083 | 20.6633 | 4.4368 | 0 | 24.2679 | 0 |  | 5.0583 | 121.4 | 67.9348 | 57.9348 |  | 601.2002 | 1161.1748 | 0.12448 | 3.1938 | 2.2538 | 1.4112 | 0.28496 | 0.18656 | 0.046573 | 25.9965 | 18.6928 | 5.8555 | 1.7774 | 0.92372 |  | 0.141 | 0.141 | 0.024868 | 0.02622 | 0.0013521 | 0.088851 | 0.038534 | -0.00035501 | 0.0032205 | 0.0053809 | 0.0018506 | -0.009213 | 3.6591 | 0.083575 |  | 0.141 | 0.053172 | 0.029472 | -0.0029007 | 0.0025253 | 0.002789 | 0.001083 | -0.098422 | 4.7841 | 0.085683
GS CHOZN Clone 23 | NIIMBL VS-002 | 8 | 2019-08-22 17:28 | 2019-08-22 17:28 | 1.5 | 1.7539 | 0.29231 |  | 20 | 1.4362 | 21.4362 | 93.3 | 7.01 |  | 2.6085 | 0.13043 | -20.796 |  | 320 | 75.4305 | 8.0467 | 2.2698 | 0.18569 | 0.17445 | 0.13861 | 12.0859 | 0.054634 | 0.29852 | 1.8892 | 0.69804 | 1.2669 | 16.8662 | 2.5353 | 2.2232 | 0.5837 | 6.8497 | 0.84596 | 2.5147 | 3.6929 | 3.608 | 0.35614 | 0.79126 | 1.9939 | 0 | 0 | 12.3853 | 16.6556 | 3.7566 | 7.1163 | 400 | 200 | 11.5568 | 0 | 0 | 14.2387 | 0 | 26.8733 | 16.6855 | 5.4088 | 0 | 13.5775 | 19.0028 | 36.3083 | 20.6633 | 4.4368 | 0 | 24.2679 | 0 |  | 5.9986 | 143.9667 | 59.9625 | 58.4625 |  | 1017.5552 | 1381.3271 | -1.2326 | 5.0388 | 3.088 | 1.3017 | 0.34313 | 0.28201 | 0.091501 | 23.2714 | 16.2959 | 5.8499 | 0.66218 | 0.27744 |  | 0.13043 | 0.13043 | 0.0089569 | 0.010671 | 0.0017139 | 0.075063 | 0.033936 | -0.004456 | 0.0023664 | 0.0038831 | 0.0018279 | -0.13131 | 3.8433 | 0.06973 |  | 0.13043 | 0.063678 | 0.030334 | -0.00063484 | 0.0023968 | 0.0025776 | 0.0010427 | -0.020928 | 4.2997 | 0.079014
GS CHOZN Clone 23 | NIIMBL VS-002 | 9 | 2019-08-23 17:08 | 2019-08-23 17:08 | 1.5 | 1.7703 | 0.29504 |  | 20.8 | 1.2106 | 22.0106 | 94.5 | 6.6 |  | 2.4657 | 0.11854 | 1.3467 |  | 334 | 105.2734 | 8.6448 | 2.2495 | 0.043518 | 0 | 0.11767 | 6.8688 | 0 | 0 | 1.651 | 0.74046 | 1.098 | 19.5025 | 2.1537 | 2.1686 | 0.49069 | 8.4425 | 0.9568 | 2.5134 | 4.0366 | 3.8179 | 0.35864 | 0.61328 | 2.0734 | 0 | 0 | 12.3853 | 16.6556 | 3.7566 | 7.1163 | 400 | 200 | 11.5568 | 0 | 0 | 14.2387 | 0 | 26.8733 | 16.6855 | 5.4088 | 0 | 13.5775 | 19.0028 | 36.3083 | 20.6633 | 4.4368 | 0 | 24.2679 | 0 |  | 6.9847 | 167.6333 | 60.5087 | 59.0087 |  | 1500.3552 | 1470.6579 | 0.064705 | 6.9989 | 4.0804 | 1.4957 | 0.40478 | 0.31944 | 0.10829 | 18.2308 | 18.843 | 5.7971 | 0.52482 | 0.10889 |  | 0.11854 | 0.11854 | 0.0031094 | 0.0027364 | -0.00037295 | 0.068227 | 0.034547 | 0.0067537 | 0.0021461 | 0.001303 | 0.00058433 | 0.1955 | 3.4314 | 0.062123 |  | 0.11854 | 0.074062 | 0.02989 | 0.0047448 | 0.0021739 | 0.0020752 | 0.00081716 | 0.15874 | 3.9659 | 0.072731
GS CHOZN Clone 23 | NIIMBL VS-002 | 10 | 2019-08-24 17:58 | 2019-08-24 17:58 | 1.5 | 1.7872 | 0.29787 |  | 17.9 | 3.3085 | 21.2085 | 84.4 | 6.4 |  | 1.5118 | 0.084457 | 0.85462 |  | 310 | 129.4567 | 7.6846 | 2.2291 | 0.046047 | 0.076312 | 0.11518 | 1.6018 | 0 | 0.043018 | 1.3791 | 0.76123 | 1.0357 | 22.4937 | 1.9822 | 2.1265 | 0.42232 | 11.3997 | 1.0555 | 2.5166 | 4.2035 | 3.8988 | 0.35218 | 0.48119 | 2.1944 | 0 | 0 | 12.3853 | 16.6556 | 3.7566 | 7.1163 | 400 | 200 | 11.5568 | 0 | 0 | 14.2387 | 0 | 26.8733 | 16.6855 | 5.4088 | 0 | 13.5775 | 19.0028 | 36.3083 | 20.6633 | 4.4368 | 0 | 24.2679 | 0 |  | 8.0194 | 192.4667 | 61.074 | 59.574 |  | 1980.8802 | 1336.5015 | 0.037431 | 8.6933 | 5.096 | 1.7187 | 0.46379 | 0.34868 | 0.11028 | 13.1418 | 21.733 | 5.7971 | 0.52726 | 0.18262 |  | 0.084457 | 0.084457 | -0.0046559 | -0.00012237 | 0.0045335 | 0.058804 | 0.035246 | 0.0077378 | 0.0020479 | 0.0010148 | 6.9044e-05 | 0.21953 | 2.3962 | 0.058102 |  | 0.084457 | 0.10222 | 0.034168 | 0.0072944 | 0.0022569 | 0.0015716 | 0.00045811 | 0.21349 | 2.4719 | 0.066053
GS CHOZN Clone 23 | NIIMBL VS-002 | 11 | 2019-08-25 17:23 | 2019-08-25 17:23 | 1.5 | 1.8048 | 0.3008 |  | 15.6 | 6.5906 | 22.1906 | 70.3 | 6.77 |  | 1.9595 | 0.12561 | 1.1465 |  | 313 | 158.9393 | 6.7956 | 2.1802 | 0 | 0.10441 | 0.10603 | 1.6261 | 0.044183 | 0.089396 | 1.1235 | 0.77381 | 1.0185 | 18.8973 | 1.9241 | 2.0173 | 0.37181 | 10.9641 | 1.1482 | 2.5184 | 4.3824 | 3.9404 | 0.34812 | 0.31579 | 2.3149 | 0 | 0 | 12.3853 | 16.6556 | 3.7566 | 7.1163 | 400 | 200 | 11.5568 | 0 | 0 | 14.2387 | 0 | 26.8733 | 16.6855 | 5.4088 | 0 | 13.5775 | 19.0028 | 36.3083 | 20.6633 | 4.4368 | 0 | 24.2679 | 0 |  | 8.9951 | 215.8833 | 61.6591 | 60.1591 |  | 2373.1094 | 1232.0087 | 0.05721 | 10.7811 | 5.8061 | 1.5438 | 0.52064 | 0.38119 | 0.1151 | 13.1653 | 18.2583 | 5.8398 | 0.48277 | 0.20977 |  | 0.12561 | 0.12561 | -0.0044002 | 0.0044121 | 0.0088122 | 0.087917 | 0.0299 | -0.0073626 | 0.0023939 | 0.001369 | 0.00020306 | -0.24624 | 4.201 | 0.080064 |  | 0.12561 | 0.13519 | 0.037043 | -0.0095167 | 0.002181 | 0.00053752 | -0.00032551 | -0.25691 | 3.3909 | 0.058879
GS CHOZN Clone 23 | NIIMBL VS-002 | 12 | 2019-08-26 11:14 | 2019-08-26 11:14 | 2 | 0 | 0 |  | 15.1 | 8.4569 | 23.5569 | 64.1 | 6.86 |  | 2.5989 | 0.17211 | 1.5738 |  | 312 | 223.4247 | 6.9031 | 2.2195 | 0.041627 | 0.149 | 0.12099 | 4.1518 | 0.2408 | 0.37615 | 1.0692 | 0.834 | 1.0272 | 13.7544 | 2.033 | 2.076 | 0.38358 | 10.0852 | 1.2653 | 2.5158 | 4.6187 | 3.8596 | 0.38669 | 0.24185 | 2.3931 | 0 | 0 | 12.3853 | 16.6556 | 3.7566 | 7.1163 | 400 | 200 | 11.5568 | 0 | 0 | 14.2387 | 0 | 26.8733 | 16.6855 | 5.4088 | 0 | 13.5775 | 19.0028 | 36.3083 | 20.6633 | 4.4368 | 0 | 24.2679 | 0 |  | 9.7389 | 233.7333 | 62.2647 | 60.2647 |  | 2647.1069 | 1233.7232 | 0.086232 | 15.1309 | 6.3673 | 1.2634 | 0.56846 | 0.40866 | 0.11888 | 4.1518 | 13.7544 | 0.2408 | 0.041627 | 0.149 |  | 0.17211 | 0.17211 | 0.00010226 | 0.0078605 | 0.0077582 | 0.25942 | 0.033472 | -0.016725 | 0.0028522 | 0.0016382 | 0.00022564 | -0.49968 | 5.1421 | 0.085214 |  | 0.17211 | 0.1537 | 0.035481 | -0.049078 | 0.0018515 | -0.00066694 | -0.0012377 | -1.3832 | 4.8508 | 0.052181

## NIIMBL VS-003
Cell Line | Experiment ID | SAMPLE # | DATE | TIME | SAMPLE VOLUME (mL) | FEED MEDIA ADDED (mL) | GLUTAMINE FEED ADDED (mL) | BASE ADDED (mL) | VIABLE CELL CONC. XV (x106 cells/mL) | DEAD CELL CONC. Xd (x106 cells/mL) | TOTAL CELL CONC. Xt (x106 cells/mL) | VIABILITY (%) | pH | DO (%) | OUR (mmol/L/hr) | SP. OXYGEN CONSUMPTION RATE (mmol/109cell/hr) | OXYGEN CONSUMED (mmol/L) | OPTICAL DENSITY | OSMOLALITY (mmol/kg) | IgG CONC. (mg/L) | ALANINE CONC. (mM) | ARGININE CONC. (mM) | ASPARAGINE CONC. (mM) | ASPARTATE CONC. (mM) | CYSTINE CONC. (mM) | GLUCOSE CONC. (mM) | GLUTAMINE CONC. (mM) | GLUTAMATE CONC. (mM) | GLYCINE CONC. (mM) | HISTIDINE CONC. (mM) | ISOLEUCINE CONC. (mM) | LACTATE CONC. (mM) | LEUCINE CONC. (mM) | LYSINE CONC. (mM) | METHIONINE CONC. (mM) | NH3 CONC. (mM) | PHENYLALANINE CONC. (mM) | PROLINE CONC. (mM) | SERINE CONC. (mM) | THREONINE CONC. (mM) | TRYPTOPHAN CONC. (mM) | TYROSINE CONC. (mM) | VALINE CONC. (mM) | ETHANOLAMINE CONC. (mM) | FEED ALANINE CONC. (mM) | FEED ARGININE CONC. (mM) | FEED ASPARAGINE CONC. (mM) | FEED ASPARTATE CONC. (mM) | FEED CYSTINE CONC. (mM) | FEED GLUCOSE CONC. (mM) | FEED GLUTAMINE CONC. (mM) | FEED GLUTAMATE CONC. (mM) | FEED GLYCINE CONC. (mM) | FEED HISTIDINE CONC. (mM) | FEED ISOLEUCINE CONC. (mM) | FEED LACTATE CONC. (mM) | FEED LEUCINE CONC. (mM) | FEED LYSINE CONC. (mM) | FEED METHIONINE CONC. (mM) | FEED NH3 CONC. (mM) | FEED PHENYLALANINE CONC. (mM) | FEED PROLINE CONC. (mM) | FEED SERINE CONC. (mM) | FEED THREONINE CONC. (mM) | FEED TRYPTOPHAN CONC. (mM) | FEED TYROSINE CONC. (mM) | FEED VALINE CONC. (mM) | FEED ETHANOLAMINE CONC. (mM) | ********* | RUN TIME (DAYS) | RUN TIME (HOURS) | VOLUME BEFORE SAMPLING (mL) | VOLUME AFTER SAMPLING (mL) | ********* | INTEGRAL OF VIABLE CELL CONC. IVCC (x106 cells hr/mL) | CUM CELLS PROD. (x106 cells) | CUM OXYGEN CONS. (mmol) | CUM IgG PROD. (mg) | CUM GLUCOSE (mmol) | CUM LACTATE (mmol) | CUM GLUTAMINE (mmol) | CUM ASPARAGINE (mmol) | CUM ASPARTATE (mmol) | GLUCOSE (mM) (After Feed) | LACTATE (mM) (After Feed) | GLUTAMINE (mM) (After Feed) | ASPARAGINE (mM) (After Feed) | ASPARTATE (mM) (After Feed) | ********* | SP. OUR (mmol/109 cells/hr) | SP. OXYGEN CONSUMPTION RATE (mmol/109cell/hr) | SP. GROWTH RATE, m (hr-1) [mv-kd] | mv | kd | Two-Pt. Calc. qIgG (mmol/109 cell/hr) | Two-Pt. Calc. qGlucose (mmol/109 cell/hr) | Two-Pt. Calc. qLactate (mmol/109 cell/hr) | Two-Pt. Calc. qGlutamine (mmol/109 cell/hr) | Two-Pt. Calc. qAsparagine (mmol/109 cell/hr) | Two-Pt. Calc. qAspartate (mmol/109 cell/hr) | Two-Pt. Calc. DL/DG (mmol/mmol) | Two-Pt. Calc. qO2/qGlc (mmol/mmol) | Two-Pt. Calc. qGln/qGlc (mmol/mmol) | ********* | SP. OXYGEN CONSUMPTION RATE (mmol/109cell/hr) | Poly. Reg. Order: 3 qigg (mmol/109 cells/hr) | Poly. Reg. Order: 3 qGlucose (mmol/109 cell/hr) | Poly. Reg. Order: 5 qLactate (mmol/109 cell/hr) | Poly. Reg. Order: 3 qGlutamine (mmol/109 cell/hr) | Poly. Reg. Order: 4 qAsparagine (mmol/109 cell/hr) | Poly. Reg. Order: 4 qAspartate (mmol/109 cell/hr) | Poly. Reg. DL/DG (mmol/mmol) | Poly. Reg. qO2/qGlc (mmol/mmol) | Poly. Reg. qGln/qGlc (mmol/mmol)
GS CHOZN Clone 23 | NIIMBL VS-003 | 0 | 2019-08-16 17:30 | 2019-08-16 17:30 | 1 | 0 | 0 |  | 0.187 | 0 | 0.187 | 100 | 7.57 | [5 empty] | 356 | 0 | 0.086027 | 2.6701 | 3.3474 | 1.4046 | 0.54565 | 30.293 | 2.221 | 0.76143 | 2.3747 | 0.87979 | 1.5317 | 0.17181 | 3.3417 | 2.8394 | 0.96376 | 2.3569 | 0.69362 | 2.5198 | 4.4739 | 2.9655 | 0.36014 | 1.459 | 1.7443 | 0 | 0 | 12.3853 | 16.6556 | 3.7566 | 7.1163 | 400 | 200 | 11.5568 | 0 | 0 | 14.2387 | 0 | 26.8733 | 16.6855 | 5.4088 | 0 | 13.5775 | 19.0028 | 36.3083 | 20.6633 | 4.4368 | 0 | 24.2679 | 0 |  | 0 | 0 | 74 | 73 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 30.293 | 0.17181 | 2.221 | 3.3474 | 1.4046 |  | 0 | [14 empty] | 0
GS CHOZN Clone 23 | NIIMBL VS-003 | 1 | 2019-08-17 17:26 | 2019-08-17 17:26 | 1.5 | 0 | 0 |  | 0.403 | 0 | 0.403 | 100 | 7.41 |  | 0.081809 | 0.203 | 1.958 |  | 350 | 1.1738 | 0.19965 | 2.6766 | 3.4334 | 1.4756 | 0.53329 | 28.7538 | 1.8699 | 0.86417 | 2.3987 | 0.85066 | 1.5466 | 3.2641 | 3.3248 | 2.8407 | 0.95563 | 2.8282 | 0.70165 | 2.5191 | 4.4644 | 3.0584 | 0.3597 | 1.4572 | 1.7704 | 0 | 0 | 12.3853 | 16.6556 | 3.7566 | 7.1163 | 400 | 200 | 11.5568 | 0 | 0 | 14.2387 | 0 | 26.8733 | 16.6855 | 5.4088 | 0 | 13.5775 | 19.0028 | 36.3083 | 20.6633 | 4.4368 | 0 | 24.2679 | 0 |  | 0.99722 | 23.9333 | 73 | 71.5 |  | 7.0603 | 15.768 | 0.14293 | 0.08569 | 0.11236 | 0.22574 | 0.025627 | -0.0062791 | -0.0051789 | 28.7538 | 3.2641 | 1.8699 | 3.4334 | 1.4756 |  | 0.203 | 0.203 | 0.030593 | 0.030593 | 0 | 0.16626 | 0.21801 | 0.43798 | 0.049723 | -0.012183 | -0.010048 | 2.009 | 0.93117 | 0.22808 |  | 0.203 | 0.21192 | 0.28524 | 0.80439 | 0.059159 | -0.015823 | -0.01427 | 2.82 | 0.71167 | 0.2074
GS CHOZN Clone 23 | NIIMBL VS-003 | 2 | 2019-08-18 08:07 | 2019-08-18 08:07 | 1.5 | 0 | 0 |  | 0.887 | 0.010773 | 0.89777 | 98.8 | 7.26 |  | 0.26095 | 0.2942 | 3.8317 |  | 350 | 1.1033 | 0.31097 | 2.6681 | 3.4612 | 1.5397 | 0.51365 | 25.7411 | 1.5067 | 1.0028 | 2.4272 | 0.8138 | 1.5506 | 7.4335 | 3.292 | 2.8123 | 0.93674 | 3.4517 | 0.69647 | 2.5184 | 4.3715 | 3.1304 | 0.35348 | 1.4739 | 1.7678 | 0 | 0 | 12.3853 | 16.6556 | 3.7566 | 7.1163 | 400 | 200 | 11.5568 | 0 | 0 | 14.2387 | 0 | 26.8733 | 16.6855 | 5.4088 | 0 | 13.5775 | 19.0028 | 36.3083 | 20.6633 | 4.4368 | 0 | 24.2679 | 0 |  | 1.609 | 38.6167 | 71.5 | 70 |  | 16.5311 | 50.374 | 0.2769 | 0.080646 | 0.32777 | 0.52385 | 0.051598 | -0.0082654 | -0.0097668 | 25.7411 | 7.4335 | 1.5067 | 3.4612 | 1.5397 |  | 0.2942 | 0.2942 | 0.051105 | 0.052242 | 0.0011375 | -0.0074492 | 0.3181 | 0.44025 | 0.038353 | -0.0029333 | -0.0067753 | 1.384 | 0.92485 | 0.12057 |  | 0.2942 | 0.20017 | 0.21598 | 0.44105 | 0.032233 | 0.0095831 | -0.00081896 | 2.042 | 1.3621 | 0.14924
GS CHOZN Clone 23 | NIIMBL VS-003 | 3 | 2019-08-18 17:18 | 2019-08-18 17:18 | 1.5 | 0 | 0 |  | 1.62 | 0.01142 | 1.6314 | 99.3 | 7.18 |  | 0.37522 | 0.23161 | 3.4457 |  | 349 | 2.2413 | 0.42486 | 2.6235 | 3.3363 | 1.5102 | 0.47904 | 23.1591 | 1.1884 | 1.0831 | 2.4592 | 0.79462 | 1.5076 | 11.1334 | 3.2207 | 2.7448 | 0.91123 | 3.5851 | 0.68438 | 2.5239 | 4.2091 | 3.0918 | 0.34804 | 1.6115 | 1.6775 | 0 | 0 | 12.3853 | 16.6556 | 3.7566 | 7.1163 | 400 | 200 | 11.5568 | 0 | 0 | 14.2387 | 0 | 26.8733 | 16.6855 | 5.4088 | 0 | 13.5775 | 19.0028 | 36.3083 | 20.6633 | 4.4368 | 0 | 24.2679 | 0 |  | 1.9917 | 47.8 | 70 | 68.5 |  | 28.0424 | 101.684 | 0.24989 | 0.16031 | 0.50851 | 0.78284 | 0.073879 | 0.00047709 | -0.0076983 | 23.1591 | 11.1334 | 1.1884 | 3.3363 | 1.5102 |  | 0.23161 | 0.23161 | 0.063677 | 0.063733 | 5.6176e-05 | 0.09886 | 0.2243 | 0.32141 | 0.02765 | 0.01085 | 0.002567 | 1.4329 | 1.0326 | 0.12327 |  | 0.23161 | 0.15108 | 0.14776 | 0.23119 | 0.019497 | 0.010367 | 0.001435 | 1.5646 | 1.5675 | 0.13195
GS CHOZN Clone 23 | NIIMBL VS-003 | 4 | 2019-08-19 08:13 | 2019-08-19 08:13 | 1.5 | 0 | 0 |  | 3.26 | 0.039595 | 3.2996 | 98.8 | 6.88 |  | 0.92423 | 0.28351 | 13.7864 |  | 348 | 4.116 | 0.68077 | 2.645 | 3.3266 | 1.5951 | 0.46289 | 19.0561 | 0.6858 | 1.2619 | 2.6063 | 0.75845 | 1.5172 | 17.9607 | 3.2088 | 2.7592 | 0.92017 | 4.6877 | 0.65896 | 2.5268 | 4.0802 | 3.252 | 0.35898 | 1.4427 | 1.6744 | 0 | 0 | 12.3853 | 16.6556 | 3.7566 | 7.1163 | 400 | 200 | 11.5568 | 0 | 0 | 14.2387 | 0 | 26.8733 | 16.6855 | 5.4088 | 0 | 13.5775 | 19.0028 | 36.3083 | 20.6633 | 4.4368 | 0 | 24.2679 | 0 |  | 2.6132 | 62.7167 | 68.5 | 67 |  | 64.4391 | 214.024 | 0.95822 | 0.28873 | 0.78956 | 1.2505 | 0.10831 | 0.0011429 | -0.013516 | 19.0561 | 17.9607 | 0.6858 | 3.3266 | 1.5951 |  | 0.28351 | 0.28351 | 0.045059 | 0.045833 | 0.00077411 | 0.051509 | 0.11273 | 0.18758 | 0.013809 | 0.00026706 | -0.0023334 | 1.664 | 2.5149 | 0.1225 |  | 0.28351 | 0.11192 | 0.095369 | 0.08631 | 0.010942 | 0.0086691 | 0.0021525 | 0.90502 | 2.9727 | 0.11473
GS CHOZN Clone 23 | NIIMBL VS-003 | 5 | 2019-08-19 17:47 | 2019-08-19 17:47 | 1.5 | 1.31 | 0.3275 |  | 5.17 | 0.28359 | 5.4536 | 94.8 | 6.83 |  | 1.1923 | 0.23062 | 11.4062 |  | 358 | 7.2842 | 0.93157 | 2.6253 | 3.3184 | 1.6611 | 0.45223 | 16.8747 | 0.39112 | 1.345 | 2.6219 | 0.72306 | 1.5428 | 20.7475 | 3.1749 | 2.7293 | 0.89743 | 5.5674 | 0.64599 | 2.5257 | 3.948 | 3.2688 | 0.35567 | 1.4077 | 1.7121 | 0 | 0 | 12.3853 | 16.6556 | 3.7566 | 7.1163 | 400 | 200 | 11.5568 | 0 | 0 | 14.2387 | 0 | 26.8733 | 16.6855 | 5.4088 | 0 | 13.5775 | 19.0028 | 36.3083 | 20.6633 | 4.4368 | 0 | 24.2679 | 0 |  | 3.0118 | 72.2833 | 67 | 65.5 |  | 104.7626 | 341.994 | 0.79875 | 0.50099 | 0.93572 | 1.4372 | 0.12805 | 0.0016875 | -0.017937 | 24.268 | 20.2415 | 4.284 | 3.5625 | 1.6939 |  | 0.23062 | 0.23062 | 0.047367 | 0.053418 | 0.0060508 | 0.078567 | 0.054097 | 0.069111 | 0.007308 | 0.00020158 | -0.0016366 | 1.2775 | 4.2631 | 0.13509 |  | 0.23062 | 0.087936 | 0.069086 | 0.039424 | 0.0074128 | 0.0067037 | 0.0019096 | 0.57065 | 3.3381 | 0.1073
GS CHOZN Clone 23 | NIIMBL VS-003 | 6 | 2019-08-20 17:36 | 2019-08-20 17:36 | 1.5 | 1.9691 | 0.32819 |  | 9.14 | 0.44071 | 9.5807 | 95.4 | 6.82 |  | 1.5172 | 0.166 | 36.1356 |  | 341 | 19.2806 | 2.0384 | 2.502 | 2.5515 | 1.3276 | 0.34411 | 16.7138 | 0.14194 | 1.3407 | 2.4882 | 0.68402 | 1.4845 | 20.8568 | 3.0395 | 2.5494 | 0.81276 | 6.6272 | 0.65961 | 2.5265 | 3.6795 | 3.3307 | 0.34089 | 1.2261 | 1.7074 | 0 | 0 | 12.3853 | 16.6556 | 3.7566 | 7.1163 | 400 | 200 | 11.5568 | 0 | 0 | 14.2387 | 0 | 26.8733 | 16.6855 | 5.4088 | 0 | 13.5775 | 19.0028 | 36.3083 | 20.6633 | 4.4368 | 0 | 24.2679 | 0 |  | 4.0042 | 96.1 | 67.1375 | 65.6375 |  | 275.1708 | 616.9958 | 2.4777 | 1.3183 | 1.4429 | 1.4785 | 0.20964 | 0.069564 | 0.0066566 | 27.7428 | 20.1515 | 5.9342 | 2.948 | 1.3916 |  | 0.166 | 0.166 | 0.024251 | 0.025222 | 0.00097121 | 0.072076 | 0.044724 | 0.003643 | 0.0071948 | 0.0059856 | 0.0021688 | 0.081456 | 3.7117 | 0.16087 |  | 0.166 | 0.074168 | 0.048145 | 0.0019884 | 0.0045507 | 0.0048237 | 0.0016588 | 0.0413 | 3.4479 | 0.094521
GS CHOZN Clone 23 | NIIMBL VS-003 | 7 | 2019-08-21 18:54 | 2019-08-21 18:54 | 10 | 1.738 | 0.28967 |  | 17.4 | 0.55666 | 17.9567 | 96.9 | 6.84 |  | 2.5578 | 0.147 | 64.7123 |  | 346 | 63.034 | 4.7548 | 2.3835 | 1.284 | 0.83396 | 0.23089 | 14.799 | 0.058938 | 0.89318 | 2.1638 | 0.67729 | 1.4173 | 19.4927 | 2.8257 | 2.3647 | 0.69769 | 6.3532 | 0.73678 | 2.5278 | 3.4629 | 3.5563 | 0.34174 | 1.0388 | 1.8622 | 0 | 0 | 12.3853 | 16.6556 | 3.7566 | 7.1163 | 400 | 200 | 11.5568 | 0 | 0 | 14.2387 | 0 | 26.8733 | 16.6855 | 5.4088 | 0 | 13.5775 | 19.0028 | 36.3083 | 20.6633 | 4.4368 | 0 | 24.2679 | 0 |  | 5.0583 | 121.4 | 67.9348 | 57.9348 |  | 610.9018 | 1199.1347 | 4.5021 | 4.335 | 2.3222 | 1.4338 | 0.28059 | 0.1826 | 0.044536 | 25.8927 | 18.8335 | 5.854 | 1.7234 | 0.91465 |  | 0.147 | 0.147 | 0.025824 | 0.026219 | 0.00039433 | 0.13382 | 0.039009 | -0.0019856 | 0.0031474 | 0.0050146 | 0.0016804 | -0.050901 | 3.7684 | 0.080686 |  | 0.147 | 0.053936 | 0.028788 | -0.0029608 | 0.0024526 | 0.0026826 | 0.0010334 | -0.10285 | 5.1062 | 0.085193
GS CHOZN Clone 23 | NIIMBL VS-003 | 8 | 2019-08-22 17:28 | 2019-08-22 17:28 | 1.5 | 1.7539 | 0.29231 |  | 19.5 | 1.0263 | 20.5263 | 95 | 7.01 |  | 2.2425 | 0.115 | 50.6058 |  | 341 | 68.5334 | 8.1355 | 2.2778 | 0.1633 | 0.16122 | 0.1552 | 11.9995 | 0.045969 | 0.28115 | 1.9661 | 0.7083 | 1.2165 | 17.3583 | 2.4991 | 2.2156 | 0.59472 | 6.2452 | 0.81924 | 2.5222 | 3.7469 | 3.5058 | 0.34169 | 0.77341 | 1.8649 | 0 | 0 | 12.3853 | 16.6556 | 3.7566 | 7.1163 | 400 | 200 | 11.5568 | 0 | 0 | 14.2387 | 0 | 26.8733 | 16.6855 | 5.4088 | 0 | 13.5775 | 19.0028 | 36.3083 | 20.6633 | 4.4368 | 0 | 24.2679 | 0 |  | 5.9986 | 143.9667 | 59.9625 | 58.4625 |  | 1027.2568 | 1360.3384 | 3.7874 | 4.7926 | 3.1553 | 1.3453 | 0.33918 | 0.27615 | 0.089714 | 23.1879 | 16.7713 | 5.8415 | 0.64055 | 0.26465 |  | 0.115 | 0.115 | 0.0065616 | 0.0077539 | 0.0011922 | 0.018625 | 0.033909 | -0.0036005 | 0.002385 | 0.0038077 | 0.0018389 | -0.10618 | 3.3914 | 0.070333 |  | 0.115 | 0.07012 | 0.031428 | 0.00083104 | 0.0024625 | 0.0025614 | 0.001044 | 0.026442 | 3.6591 | 0.078353
GS CHOZN Clone 23 | NIIMBL VS-003 | 9 | 2019-08-23 17:08 | 2019-08-23 17:08 | 1.5 | 1.7703 | 0.29504 |  | 20.3 | 1.7652 | 22.0652 | 92 | 6.7 |  | 2.1632 | 0.10656 | 51.1947 |  | 324 | 97.6318 | 8.6707 | 2.2598 | 0.038406 | 0.055153 | 0.13169 | 7.5221 | 0 | 0 | 1.6661 | 0.75097 | 1.0816 | 20.3806 | 2.1398 | 2.1594 | 0.50312 | 7.3373 | 0.94936 | 2.5326 | 4.0673 | 3.7784 | 0.34419 | 0.60483 | 2.0037 | 0 | 0 | 12.3853 | 16.6556 | 3.7566 | 7.1163 | 400 | 200 | 11.5568 | 0 | 0 | 14.2387 | 0 | 26.8733 | 16.6855 | 5.4088 | 0 | 13.5775 | 19.0028 | 36.3083 | 20.6633 | 4.4368 | 0 | 24.2679 | 0 |  | 6.9847 | 167.6333 | 60.5087 | 59.0087 |  | 1498.2235 | 1448.646 | 3.9266 | 6.6935 | 4.1032 | 1.5637 | 0.40033 | 0.31258 | 0.10239 | 18.8619 | 19.6914 | 5.7971 | 0.51988 | 0.16217 |  | 0.10656 | 0.10656 | 0.003151 | 0.0048213 | 0.0016703 | 0.067829 | 0.033824 | 0.0077927 | 0.0021819 | 0.0013001 | 0.00045232 | 0.23039 | 3.1505 | 0.06451 |  | 0.10656 | 0.083932 | 0.03118 | 0.0078734 | 0.0022325 | 0.0020219 | 0.00081756 | 0.25251 | 3.4175 | 0.0716
GS CHOZN Clone 23 | NIIMBL VS-003 | 10 | 2019-08-24 17:58 | 2019-08-24 17:58 | 1.5 | 1.7872 | 0.29787 |  | 18 | 4.113 | 22.113 | 81.4 | 6.42 |  | 1.5757 | 0.087538 | 39.1294 |  | 325 | 141.937 | 7.5795 | 2.1885 | 0.039677 | 0.055388 | 0.13246 | 1.9799 | 0 | 0 | 1.3721 | 0.75582 | 0.99045 | 26.8634 | 1.9251 | 2.0461 | 0.40862 | 12.0066 | 1.0259 | 2.532 | 4.2101 | 3.7577 | 0.33185 | 0.45156 | 2.0548 | 0 | 0 | 12.3853 | 16.6556 | 3.7566 | 7.1163 | 400 | 200 | 11.5568 | 0 | 0 | 14.2387 | 0 | 26.8733 | 16.6855 | 5.4088 | 0 | 13.5775 | 19.0028 | 36.3083 | 20.6633 | 4.4368 | 0 | 24.2679 | 0 |  | 8.0194 | 192.4667 | 61.074 | 59.574 |  | 1973.7818 | 1350.1014 | 3.2955 | 9.601 | 5.1343 | 2.0017 | 0.45934 | 0.34191 | 0.10891 | 13.5072 | 25.955 | 5.7971 | 0.52111 | 0.1624 |  | 0.087538 | 0.087538 | -0.0034548 | 0.0017 | 0.0051549 | 0.10193 | 0.036147 | 0.015356 | 0.0020688 | 0.0010282 | 0.00022865 | 0.42483 | 2.4217 | 0.057232 |  | 0.087538 | 0.11591 | 0.035018 | 0.010224 | 0.0022471 | 0.0014855 | 0.00046036 | 0.29197 | 2.4998 | 0.064171
GS CHOZN Clone 23 | NIIMBL VS-003 | 11 | 2019-08-25 17:23 | 2019-08-25 17:23 | 1.5 | 1.8048 | 0.3008 |  | 16.4 | 6.0658 | 22.4658 | 73 | 6.77 |  | 1.8152 | 0.11068 | 42.5059 |  | 381 | 181.2338 | 6.9381 | 2.2152 | 0.048849 | 0.055485 | 0.11677 | 0.83694 | 0.039462 | 0.042781 | 1.15 | 0.78269 | 0.98504 | 21.271 | 1.9109 | 2.0753 | 0.37339 | 11.1708 | 1.1523 | 2.532 | 4.576 | 3.9164 | 0.35479 | 0.29773 | 2.2145 | 0 | 0 | 12.3853 | 16.6556 | 3.7566 | 7.1163 | 400 | 200 | 11.5568 | 0 | 0 | 14.2387 | 0 | 26.8733 | 16.6855 | 5.4088 | 0 | 13.5775 | 19.0028 | 36.3083 | 20.6633 | 4.4368 | 0 | 24.2679 | 0 |  | 8.9951 | 215.8833 | 61.6591 | 60.1591 |  | 2376.5485 | 1288.9785 | 3.5852 | 12.32 | 5.9155 | 1.7129 | 0.51648 | 0.37103 | 0.1155 | 12.4028 | 20.5517 | 5.8352 | 0.52997 | 0.16249 |  | 0.11068 | 0.11068 | -0.0025056 | 0.0027816 | 0.0052872 | 0.11146 | 0.032025 | -0.011839 | 0.0023423 | 0.0011937 | 0.00027024 | -0.36968 | 3.4562 | 0.073142 |  | 0.11068 | 0.15073 | 0.036926 | -0.01188 | 0.0020706 | 0.00057368 | -0.000247 | -0.32173 | 2.9974 | 0.056074
GS CHOZN Clone 23 | NIIMBL VS-003 | 12 | 2019-08-26 11:14 | 2019-08-26 11:14 | 2 | 0 | 0 |  | 15.6 | 8.3264 | 23.9264 | 65.2 | 6.9 |  | 2.376 | 0.15231 | 42.4112 |  | 384 | 242.8054 | 6.9525 | 2.2337 | 0.041063 | 0.14081 | 0.10813 | 2.6373 | 0.23609 | 0.36953 | 1.0783 | 0.8296 | 1.0254 | 14.9812 | 2.0129 | 2.1116 | 0.37264 | 9.6383 | 1.274 | 2.514 | 4.6281 | 3.9111 | 0.39316 | 0.22562 | 2.4086 | 0 | 0 | 12.3853 | 16.6556 | 3.7566 | 7.1163 | 400 | 200 | 11.5568 | 0 | 0 | 14.2387 | 0 | 26.8733 | 16.6855 | 5.4088 | 0 | 13.5775 | 19.0028 | 36.3083 | 20.6633 | 4.4368 | 0 | 24.2679 | 0 |  | 9.7389 | 233.7333 | 62.2647 | 60.2647 |  | 2662.1485 | 1273.6981 | 3.6688 | 16.5353 | 6.5236 | 1.3661 | 0.56432 | 0.40147 | 0.11685 | 2.6373 | 14.9812 | 0.23609 | 0.041063 | 0.14081 |  | 0.15231 | 0.15231 | -0.00087444 | 0.0079114 | 0.0087858 | 0.24123 | 0.034796 | -0.019849 | 0.0027373 | 0.001742 | 7.7254e-05 | -0.57042 | 4.3771 | 0.078666 |  | 0.15231 | 0.17791 | 0.036634 | -0.061778 | 0.0017794 | -0.00037063 | -0.0010621 | -1.6864 | 4.1575 | 0.048574